OIL/PLNG/54/2/1/2026/87					                   27th   March, 2026

Ministry of Petroleum and Natural Gas

Kartavya Bhawan-03, Janpath

New Delhi - 110001                                                             Kind Attn: Shri Satpal Yadav

ASO, ONG-I&V (Exploration Division)

Sub: Rajya Sabha Provisionally Admitted Starred/Unstarred Question D. No. U7620 for 30.03.2026

Regarding “REPURPOSING ABANDONED OIL AND GAS WELLS FOR GEOTHERMAL ENERGY AND SITE REMEDIATION”

Ref.  Your email dated 19.03.2026

Sir,

Reference above, our reply to the above Rajya Sabha Question is as follows:

| Will the Minister of Petroleum and Natural Gas: Q.(a) Whether the ministry has mapped abandoned or decomissioned oil and gas wells for geothermal energy repurposing; | Answer to Q(a): MoPNG may reply suitably. As far as Oil India Limited (OIL) is concerned, a feasibility study on the repurposing of abandoned and to-be-abandoned oil and gas wells for geothermal energy exploration is currently underway in OIL’s operational areas in the Upper Assam Basin The objective is to assess the geothermal energy potential of abandoned/to-be-abandoned wells in the Upper Assam Basin, particularly within the MPA (Main Producing Area) region within Assam & Arunachal Pradesh # Scope Conducting a two-phase feasibility to identify and rank geothermal prospects in OIL’s Main Producing Area (MPA), in Assam and Arunachal Pradesh, leveraging abandoned/to-be-abandoned wells for rapid, low-cost deployment. - Phase-I: Preliminary Assessment & Ranking Collecting, review, and analysis of the data for abandoned/to-be-abandoned wells; identify clusters for preliminary energy/resource potential and issue Go/No-Go recommendations. - Phase-II — Detailed Feasibility Execute full feasibility for 5 top-ranked clusters: resource modelling, techno-economics (CAPEX/OPEX, IRR/NPV, tariff), ESIA, well modification / new drilling needs, technology selection (e.g., binary cycles) |
| --- | --- |
| Q.(b) If so, the details thereof including pilot projects undertaken or planned in this regard, and if not, the reasons therefor; | Answer to Q(b): MoPNG may reply suitably. As far as Oil India Limited (OIL) is concerned, based on the outcome of the aforementioned study, the next course of action will be planned accordingly. |
| Q.(c) The measures taken to ensure community and ecological safety around legacy well sites, including remediation of oily sludge pits and groundwater contamination; and; | Answer to Q(c): MoPNG may reply suitably. As far as Oil India Limited (OIL) is concerned, following measures are implemented for ensuring community and ecological safety around legacy well sites, including remediation of oily sludge pits and groundwater contamination - Comprehensive Site Assessment and Risk Evaluation Legacy well sites are periodically inspected to assess structural integrity, surface conditions, presence of oily sludge pits, and risks of groundwater contamination - Remediation of Oily Sludge Pits Oily sludge pits located at old or decommissioned well sites are Bioremediated using Oil Zapper technology to reduce hydrocarbon content in contaminated soil. - Groundwater Protection and Restoration Groundwater samples from nearby habitations are regularly tested for hydrocarbons and heavy metals. Also, Protective bunds and HDPE lined waste pits are used to prevent any future infiltration into aquifers. - Well Integrity and Abandonment Standards Old wells are reviewed for integrity issues, and abandonment is carried out strictly as per OIL’s Well Abandonment, Site Restoration and Reclamation Policy 2021 to prevent leakage of hydrocarbons. Multi-plug cement abandonment ensures no upward migration of formation fluids. - Community Safety Measures Fencing, barricading, and signage are installed around legacy wells to prevent unauthorized access.Emergency response plans (ERP) are updated to include legacy well locations. - Ecological Restoration & Greenbelt Development After remediation, affected areas undergo ecological restoration through plantation of native species. |
| Q.(d) The details of plans to establish robust frameworks for environmental monitoring, land restoration, and local stakeholder involvement in the re-use or closure of such sites? | Answer to Q(d): MoPNG may reply suitably. As far as Oil India Limited (OIL) is concerned, the company has put in place a structured framework aimed at ensuring environmental protection, ecological restoration, and community participation during the closure or repurposing of abandoned and decommissioned well sites. Details of the same is attached herewith as Annexure I |

Yours faithfully,

OIL INDIA LIMITED

(Ashim Kumar Bharali)

General Manager (Planning)

For Chief General Manager (Planning)

For Chairman & Managing Director